## Sheet1
Integrated Energy calculation for EV Charging Stations
Power Generation | [7 empty] | PCC - Point of common coupling | [6 empty] | ESS - Charging
Power Source | Voltage [V] | Current [I] | % of Generation/day | Required Power | Power [P]- KW/hr | Power/day |  | PCC will Logically controlled on aavalibility of source | [6 empty] | No.of batteries |  | 40
Solar | 430 | 16.6667 | 60 | 71.6667 | 43 | 1032 |  | Voltage - [V] |  |  | 430 | Output Power/day in KW |  |  | Voltage |  | 12
ESS | 480 | 16.6667 | 30 | 80 | 24 | 576 |  | Current - [I] |  |  | 17.4419 |  |  |  | Amper hour - capacity |  | 100
Grid | 435 | 20.0192 | 10 | 87.0833 | 8.7083 | 209 |  | Power - [W] - KW/h |  |  | 75 | 1800 | Gen /day |  | Power / charge - Watt / hr |  | 48000
Total Power Generation per day in KW/24 hr | [5 empty] | 1817 |  | Power Avaliability |  |  | 1.1667 | 1772 | use / day |  | Power / one cycle charge - KW |  | 48
Fast Charging Station Load | [11 empty] | Total Energy claculation
Cars | Voltage (V) | Power (kW) | Battery Capacity (kWh) | SOC Avaliable | Required Current |  | Charging Time in hr |  | Unit charge | Cost |  | Power sources |  | KW / day | KW / Month | KW / year | KW / 5 years
1 - Tata Nexon - EV | 400 | 30.2 | 30.2 | 20 | 75.5 |  | 2.4696 |  | 10 | 745.8333 |  | Required full Power From Grid |  | 1817 | 54510 | 663205 | 3316025
2- MG ZS EV | 400 | 50 | 44.5 | 30 | 125 |  | 1.4875 |  | 10 | 743.75 |  | Solar |  | 1032 | 30960 | 376680 | 1883400
3-Tata Trigo EV | 400 | 16.8 | 26 | 50 | 42 |  | 4.4023 |  | 10 | 739.5833 |  | ESS |  | 576 | 17280 | 210240 | 1051200
4- Mahindra eVerito | 400 | 70 | 60 | 10 | 175 |  | 1.0685 |  | 10 | 747.9167 |  | Grid |  | 209 | 6270 | 76285 | 381425
Total Power |  | 167 |  |  | Total Time |  | 9.4279 |  | Total Revenue | 2977.0833 |  | Total Power saving / Day |  | 1608 | 48240 | 586920 | 2934600
Total Power |  | 1670 | KW power can charge / day |  | Total Time |  | 94.2788 | / 96 hr | Total Revenue | 26793.75 |  | Total Generation Cost / Day 12rs / unit |  | 21804 | 654120 | 7958460 | 39792300
Battery Swapping Station | [11 empty] | Total Generation Cost Saving / Day 12rs / unit |  | 19296 | 578880 | 7043040 | 35215200
Total Batteries |  |  |  |  | 30 | [6 empty] | Spending Amount |  | 2508 | 75240 | 915420 | 4577100
Under maintance |  |  |  |  | 0
Avaliable batteries |  |  |  |  | 30
Voltage |  |  |  |  | 12 |  | Total Batteries charging / day |  |  | 90 |  | Revenue
Current |  |  |  |  | 10 |  | Cost of charge per battery |  |  | 30 |  | Source |  | Per day | Per Month | Per Year | Per 5 Years
Time / Battery in hr |  |  |  |  | 5 |  | Total Amout Per day |  |  | 2700 |  | Fast charging |  | 26793.75 | 803812.5 | 9779718.75 | 48898593.75
No of Cycle per day |  |  |  |  | 3 | [6 empty] | Battery Swapping |  | 2700 | 81000 | 985500 | 4927500
Power/Battery - KW |  |  |  |  | 0.12 | [6 empty] | Total Revenue |  | 29493.75 | 884812.5 | 10765218.75 | 53826093.75
Total Station KW |  |  |  |  | 18 | [6 empty] | Spending Amount |  | 2508 | 75240 | 915420 | 4577100
Total Energy Required for Full Swapping Station per Day - KW |  |  |  |  | 54 | [6 empty] | Total Profit |  | 26985.75 | 809572.5 | 9849798.75 | 49248993.75

## Sheet2
S.No | Cars | Voltage (V) | Power (kW) | Battery Capacity (kWh) | SOC Avaliable | Required Current | Charging Time in hr |  | Unit charge | Cost
1 | 1 - Tata Nexon - EV | 400 | 30.2 | 30.2 | 20 | 75.5 | 2.4696 |  | 10 | 745.8333
2 | 2- MG ZS EV | 400 | 50 | 44.5 | 30 | 125 | 1.4875 |  | 10 | 743.75
3 | 3-Tata Trigo EV | 400 | 16.8 | 26 | 50 | 42 | 4.4023 |  | 10 | 739.5833
4 | 4- Mahindra eVerito | 400 | 70 | 60 | 10 | 175 | 1.0685 |  | 10 | 747.9167
5 | 1 - Tata Nexon - EV | 400 | 30.2 | 30.2 | 20 | 75.5 | 2.4696 |  | 10 | 745.8333
6 | 2- MG ZS EV | 400 | 50 | 44.5 | 30 | 125 | 1.4875 |  | 10 | 743.75
7 | 3-Tata Trigo EV | 400 | 16.8 | 26 | 50 | 42 | 4.4023 |  | 10 | 739.5833
8 | 4- Mahindra eVerito | 400 | 70 | 60 | 10 | 175 | 1.0685 |  | 10 | 747.9167
9 | 1 - Tata Nexon - EV | 400 | 30.2 | 30.2 | 20 | 75.5 | 2.4696 |  | 10 | 745.8333
10 | 2- MG ZS EV | 400 | 50 | 44.5 | 30 | 125 | 1.4875 |  | 10 | 743.75
11 | 3-Tata Trigo EV | 400 | 16.8 | 26 | 50 | 42 | 4.4023 |  | 10 | 739.5833
12 | 4- Mahindra eVerito | 400 | 70 | 60 | 10 | 175 | 1.0685 |  | 10 | 747.9167
13 | 1 - Tata Nexon - EV | 400 | 30.2 | 30.2 | 20 | 75.5 | 2.4696 |  | 10 | 745.8333
14 | 2- MG ZS EV | 400 | 50 | 44.5 | 30 | 125 | 1.4875 |  | 10 | 743.75
15 | 3-Tata Trigo EV | 400 | 16.8 | 26 | 50 | 42 | 4.4023 |  | 10 | 739.5833
16 | 4- Mahindra eVerito | 400 | 70 | 60 | 10 | 175 | 1.0685 |  | 10 | 747.9167
17 | 1 - Tata Nexon - EV | 400 | 30.2 | 30.2 | 20 | 75.5 | 2.4696 |  | 10 | 745.8333
18 | 2- MG ZS EV | 400 | 50 | 44.5 | 30 | 125 | 1.4875 |  | 10 | 743.75
19 | 3-Tata Trigo EV | 400 | 16.8 | 26 | 50 | 42 | 4.4023 |  | 10 | 739.5833
20 | 4- Mahindra eVerito | 400 | 70 | 60 | 10 | 175 | 1.0685 |  | 10 | 747.9167
21 | 1 - Tata Nexon - EV | 400 | 30.2 | 30.2 | 20 | 75.5 | 2.4696 |  | 10 | 745.8333
22 | 2- MG ZS EV | 400 | 50 | 44.5 | 30 | 125 | 1.4875 |  | 10 | 743.75
23 | 3-Tata Trigo EV | 400 | 16.8 | 26 | 50 | 42 | 4.4023 |  | 10 | 739.5833
24 | 4- Mahindra eVerito | 400 | 70 | 60 | 10 | 175 | 1.0685 |  | 10 | 747.9167
25 | 1 - Tata Nexon - EV | 400 | 30.2 | 30.2 | 20 | 75.5 | 2.4696 |  | 10 | 745.8333
26 | 2- MG ZS EV | 400 | 50 | 44.5 | 30 | 125 | 1.4875 |  | 10 | 743.75
27 | 3-Tata Trigo EV | 400 | 16.8 | 26 | 50 | 42 | 4.4023 |  | 10 | 739.5833
28 | 4- Mahindra eVerito | 400 | 70 | 60 | 10 | 175 | 1.0685 |  | 10 | 747.9167
29 | 1 - Tata Nexon - EV | 400 | 30.2 | 30.2 | 20 | 75.5 | 2.4696 |  | 10 | 745.8333
30 | 2- MG ZS EV | 400 | 50 | 44.5 | 30 | 125 | 1.4875 |  | 10 | 743.75
31 | 3-Tata Trigo EV | 400 | 16.8 | 26 | 50 | 42 | 4.4023 |  | 10 | 739.5833
32 | 4- Mahindra eVerito | 400 | 70 | 60 | 10 | 175 | 1.0685 |  | 10 | 747.9167
33 | 1 - Tata Nexon - EV | 400 | 30.2 | 30.2 | 20 | 75.5 | 2.4696 |  | 10 | 745.8333
34 | 2- MG ZS EV | 400 | 50 | 44.5 | 30 | 125 | 1.4875 |  | 10 | 743.75
35 | 3-Tata Trigo EV | 400 | 16.8 | 26 | 50 | 42 | 4.4023 |  | 10 | 739.5833
36 | 4- Mahindra eVerito | 400 | 70 | 60 | 10 | 175 | 1.0685 |  | 10 | 747.9167
37 | 1 - Tata Nexon - EV | 400 | 30.2 | 30.2 | 20 | 75.5 | 2.4696 |  | 10 | 745.8333
38 | 2- MG ZS EV | 400 | 50 | 44.5 | 30 | 125 | 1.4875 |  | 10 | 743.75
39 | 3-Tata Trigo EV | 400 | 16.8 | 26 | 50 | 42 | 4.4023 |  | 10 | 739.5833
40 | 4- Mahindra eVerito | 400 | 70 | 60 | 10 | 175 | 1.0685 |  | 10 | 747.9167
Total Power |  |  | 1670 | KW power can charge / day |  | Total Time | 94.2788 | / 96 hr | Total Revenue | 26793.75